## MAKER ASSOCIATES

MFG. OF INDOOR & OUTDOOR FOUNTAINS, WATER FALLS, ROCK GARDENS, IRRIGATION SYSTEM, ARTIFICIAL GARDEN   LAWN

61/B, SAHAYOG SOCIETY, SUMUL DAIRY ROAD, SURAT.

(M) 9824768844   e-mail :- hiteshgupta19@gmail.com  WEBSITE:- www.makerassociates.com

_______________________________________________________________________________________________

MUSICAL  DANCING FOUNTAIN (SIZE 100 X 30 FT)

(30 MINUTES SINCRUNISATION WITH MUSIC)

| SL NO | NAME OF THE ITEMS | UINT | QTY |
| --- | --- | --- | --- |
| 1 | 85 ft x 14 ft floating platform | Set | 1 |
| 2 | WATER SCREEN (make Maker Associates) | Set | 1 |
| 3 | High Jet (make Maker Associates) | Nos. | 24 |
| 4 | 20 ft Mist Line (make Maker Associates) | Nos. | 4 |
| 5 | CENTER JET (make Maker Associates) | Nos. | 1 |
| 6 | 10 ft Dia RING FOUNTAIN (make Maker Associates) | Nos. | 3 |
| 7 | 12 ft Dia RING FOUNTAIN (make Maker Associates) | Nos. | 2 |
| 8 | DANCING DANCING (make Maker Associates) | Nos. | 3 |
| 9 | RISING SUN (make Maker Associates) | NOS. | 2 |
| 10 | CORNER JET (make Maker Associates) | Nos. | 2 |
| 11 | PEACOCK TAIL dancing fountain (make Maker Associates) | Set | 2 |
| 12 | MOVING HEAD (Butterfly) (make Maker Associates) | Set | 2 |
| 13 | Organ fountain 6 ft long | Set | 4 |
| 14 | Solonoid Valves for all Above Different Patterns | Nos. | 38 |
| 15 | Required Piping & Plumbing fittings as per site Requirement make prince/ supreme/ astral/ ashirvad or equivelent | Ls | AS REQUIRED |
| 16 | Pump: 7.5 hp mono submersible. Make Crompton /CRI | Nos. | 3 |
| 17 | Pump: 20 hp mono submersible. Make Crompton /CRI | Nos. | 1 |
| 18 | Pump: 3 hp mono submersible. Make Crompton /CRI | Nos. | 7 |
| 19 | GEAR MOTOR FOR MOOVING HEAD FOUNTAIN | Nos. | 2 |
| 20 | Stainless Steel Stain mesh Filter on suction side of pump (make Maker Associates) | Nos. | 11 |
| 21 | 36w x 20v LED lights (RGB). Waterproof luminaries as per rating IP-68 with array of high output of LEDs housed in compact enclosure of Alluminium Diacasted body of LM 6 material. Toughened glass with Silicon Gasket seal. Special plastic cable gland compact socket head fasteners and mounting bracket. (make Maker Associates) | Nos. | 150 |
| 22 | Ahuja/ Jbl/ Boss Make Sound System with 6 Nos. of 200 W outdoor Speakers | Set | 1 |
| 23 | 60 W Outdoor RGB Laser Lights with various Choreography & Annimation synchronized with musical dancing fountain | Set | 2 |
| 24 | Epson make HD Projector 20,000 Lumens including the Choreography for Musical Fountain | Set | 1 |
| 25 | PERSONAL COMPUTER SYSTEM | Set | 1 |
| 26 | Low loss copper cabling, cables and connectors | Set | 1 |
| 27 | Programmable Dancing Fountain Pannel Board (make Maker Associates): 1) Made of 16 GAUGE thick sheet steel enclosure, foot mounted cubicle type, epoxy powder coated (Siemens grey). Front doors are hingeable & lockable with the body. 2) Degree of protection – IP 54. 3) All cable entry from bottom. 4) All doors and gland plates have spongy rubber gasket. 5) Music Sincrunisation & Programming Console -1 No. with following a) Code Base Technology b) Filter Base Technology (auto sensing) c) Synchronized with Music Technology. d) Power by Online support e) 9 nos of VDF should be controlled digitally using Modbus (not analog signal) 6) Controller & Driver for LED Lights | Set | 1 |
| 28 | STABILIZER FOR 45 KVA POWER | SET | 1 |
| 29 | Choreograpgy, & Syncrunisation of laser Lights, Video Projectors & Musical fountain with 30 minute show |  |  |
| 30 | Installation & Packing & forwarding & service charges during Warantee Period for 1 year | Job | 1 |

NOT INCLUDED IN OUR SCOPE

1      Civil Work :-                            OUR COST   DOES NOT INCLUDES ANY COST OF CIVIL WORK,

LIKE CONSTRUCTION OF WATER BODY, ETC   & INLET ,OUTLET                                                                                                   	                                             AND OVER FLOW LONE OF WATER CONNECTION, CONDUCT

PIPES CABLE, FOUNDATIONS FOR PUMP & GROUTING STANDS, ETC.

- AIR CONDITION DUST FREE  CONTROLL ROOM (1.5 TONNE AC REQUIREMENT)

- 3 NOS OF LOCAL EARTHING WITH  MINIMUM DISTANCE OF 6 MTS BETWEEN TWO EARTHING

- 1 TUBE LIGHT & 2 NOS OF 5 AMP PLUG POINT  ON ALL 4 WALL OF CONTROLL ROOM